
This page contains instructions only, please delete prior to issuing your spec.

* As is the case with many specifications, you will need to edit this document as appropriate for your project.
* We have included “hidden” instructional text, which is formatted as Orange, in italics
* Go to File/Options/Display and make sure “hidden text” has a checkmark (so that it appears in this template), and “print hidden text” does *not* have a checkmark.
* If you “print” your document, either on paper or to a pdf – the instructional text will not appear.
* If you are sending an electronic copy of this document to an architect, please follow the steps listed below.
  + Save As – save your document as needed for your project.
  + Go to File/Info/Inspect Document and when the dialog box pops up, ensure that “hidden text” is checked off
  + Click “Inspect”
  + Click on “Remove All” next to hidden text, and then close.
    - All hidden instructional text will be removed.



SECTION 08 39 50 – BULLET-RESISTANT DOORS

1. GENERAL
   1. section includes
      1. This section includes bullet resistant door and frame assemblies where shown on the plans, as specified herein, and as needed for complete and proper installation.
   2. RELATED sections
      1. Section 08 71 00 - Door Hardware.
      2. Section 08 80 00 – Glazing
      3. Section 09 90 00 - Paints and Coating
   3. References
      1. AISC Manual of Steel Construction; American Institute of Steel Construction.
      2. AISI Cold Formed Steel Design Manual; American Iron and Steel Institute.
      3. ASTM A 366 - Standard Specification for Steel, Carbon, Cold-Rolled Sheet, Commercial Quality.
      4. ANSI / NFPA 80 – 1999 Fire Doors and Windows
      5. ASTM A 1008 - Standard Specification for Steel, Carbon, Cold-Rolled Sheet, Commercial Quality.
      6. ASTM A 569 - Standard Specification for Steel, Carbon, (0.15 Maximum Percent), Hot-Rolled Sheet and Strip, Commercial Quality.
      7. ASTM A 653/A 653M - Standard Specification for Steel Sheet, Zinc Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot Dip Process.
      8. ASTM E 90 - Standard Test Method for Laboratory Measurement of Airborne-Sound Transmission Loss of Building Partitions.
      9. ANSI/UL 10B – 2001 Fire Tests of Door Assemblies.
      10. ANSI/UL 10C – 2001 Standard for Positive Pressure Fire Tests of Door Assemblies.
      11. UL 752 – 00, 10th Edition, Bullet Resistant Equipment.
      12. HMMA 840 - Installation and Storage of Hollow Metal Doors and Frames; Hollow Metal Manufacturers Association.
      13. TM5-855-1 - Fundamentals of Design for Conventional Weapons; Department of the Army.
   4. System description
      1. Design requirements: Bullet resistant acoustical door assemblies to include doors, frames, and door hardware to include gasketing systems, retainers and retainer covers, automatic or fixed door bottoms, continuous hinges, thresholds, and sills, required to achieve specified performance requirements.
      2. Ballistic Performance requirements:
         1. Bullet resistance requirements: Withstand bullet resistance level as follows, in accordance with and tested by UL 752, and consistent with ASTM F1450, Section 7.1, “Bullet Penetration”:

Specifier Note: Select performance requirements from the following list; delete those not required.

* + - * 1. Level 1: 9 mm full metal copper jacket with lead core.
        2. Level 2: .357 magnum jacketed lead soft point.
        3. Level 3: .44 magnum lead semi-wadcutter gas checked.
        4. Level 4: .30 caliber rifle lead core soft point.
        5. Level 5: 7.62 mm rifle lead core full metal copper jacket, military ball.
        6. Level 6: 9 mm full metal copper jacket with lead core.
        7. Level 7: 5.56 mm rifle full metal copper jacket with lead core.
        8. Level 8: 7.62 mm rifle lead core full metal copper jacket, military ball.
      1. Bullet resistance ratings: Test assemblies in accordance with UL 752 for specified ratings, assemblies bearing labels of that agency.

*Specifier Note: delete the following paragraph if no fire-rated assemblies are required.*

* + - 1. Fire-rated assemblies to be tested in accordance with ASTM E 152 (UL 10B) for specified fire resistance ratings, approved by Underwriters Laboratories, Inc., and to bear fire rating seal of that agency.
  1. submittals
     1. Submit under provisions of Section 01300.
     2. Product data: Indicate door materials and construction.
     3. Shop drawings: Indicate door opening criteria, elevations, sizes, types, swings; identify and detail cutouts.
     4. Quality assurance submittals:
        1. Test Reports:
           1. Acoustical certified laboratory reports, performed in accordance with ASTM E90 and ASTM E 413, from independent testing laboratory qualified under the National Voluntary Laboratory Accreditation Program (NVLAP) supporting compliance of assemblies to specified requirements.
           2. Minimum five (5) field tests, performed in accordance with ASTM E 336 and ASTM E 413 by five separate independent testing agencies, substantiating acoustical performance when installed at no less than four (4) FSTC ratings below the specified STC rating.
        2. Certificates:
           1. Contractor's certification that:

Products of this section, as provided, meet or exceed specified requirements.

Manufacturer of products of this section meet specified qualifications.

* + - 1. Manufacturer's instructions: Printed installation instructions for each component.
    1. Closeout submittals:
       1. Warranty documents, executed by manufacturer in Owner's name.
       2. Operation and maintenance data for assembly components.
       3. Certified statement of manufacturer's authorized representative, as specified in FIELD QUALITY CONTROL Article of PART 3 of this section.
       4. Certified test reports of independent testing agency, as specified in FIELD QUALITY CONTROL Article of PART 3 of this section.
  1. QUALITY ASSURANCE
     1. Qualifications:
        1. Manufacturer: Minimum five (5) years documented experience producing systems specified in this section.
        2. Installer: Minimum (5) years documented experience installing systems specified in this section, and approved by the manufacturer.
     2. Custom Specification: Conform where applicable to “Guide Specifications for Sound Control Hollow Metal Doors and Frames”, NAAMM Standard HMMA 865-13, member of NAAMM and/or conforms to these standards.
  2. Delivery, storage and handling
     1. Store frames in accordance with requirements of HMMA 840.
     2. Store steel doors in accordance with requirements of HMMA 840.
     3. Remove wraps or covers from doors and frames upon delivery at the building site; clean and touch-up scratches or disfigurement caused by shipping or handling promptly with rust inhibitive primer.
     4. Store units on planks or dunnage in a dry location; store doors in a vertical position spaced by blocking.
     5. Store units covered to protect them from damage, but permitting air circulation.
  3. Warranty
     1. Manufacturer’s warranty: furnish system manufacturer’s standard 10-year warranty against defects in product workmanship and materials.
  4. Scheduling
     1. Furnish manufacturer’s mounting templates for door hardware specified in Section 08 71 00 to the manufacturer of products of this section in time for factory preparation for door hardware.

1. PRODUCTS
   1. MANUFACTURERS
      1. Acceptable manufacturer: Krieger Specialty Products, 4880 Gregg Road, Pico Rivera CA 90660; Telephone 562-695-0645, FAX 562-692-0146.
      2. Substitutions: Not permitted. Or as required by project.
      3. Unless otherwise specified for an individual product or material, supply all products specified in this section from the same manufacturer.
   2. MATERIALS
      1. Steel sheet: one of the following:
         1. Cold-rolled steel conforming to ASTM A 366, commercial quality.
         2. Hot-rolled steel sheet conforming to ASTM A 569, picked and oiled, commercial qualify.
      2. Primer: Meeting ASTM B 117 salt spray for 150 hours, and ASTM D 1735 water fog test for organic coatings for 200 hours.
      3. Insulating material: one of the following:
         1. Glass fiber.
         2. Rock wool.
         3. Polyurethane foam
      4. Glazing: Specified in Section 08800.
   3. COMPONENTS
      1. Steel doors: Fabricate in accordance with Architect-approved shop drawings, 1-3/4 inches minimum thickness, and as follows:
         1. Face sheets:
            1. Doors for interior use: Steel sheet, minimum 16 gage sheet thickness.
            2. Doors for exterior use: Galvanized steel sheet, minimum 16 gage sheet thickness.
            3. RF Doors: Stainless Steel for grounding. Minimum 16 gage thick.
            4. Visible seams on face sheets not permitted.
         2. Core:
            1. Stiffen face sheets with steel sections.
            2. Fill spaces between stiffeners with acoustical material.
         3. Vertical edges:

Join face sheets at vertical edges by continuous welding:

Join door faces by continuous weld on each edge, extending full door height.

* + - * 1. Grind, fill, and dress welds to provide smooth flush surface.
        2. Form edge profiles both vertical edges of doors with 1/8 inch in 2 inches bevel.
        3. Visible seams on vertical edges not permitted.
      1. Horizontal edges:
         1. Close top and bottom edges of doors with continuous steel channels, 16 gage minimum; spot-weld channels to both door faces.
         2. Provide openings in the bottom closure of exterior doors to permit escape of entrapped moisture.
         3. Provide additional flush closing channel at top edge of doors; spot-weld channel to both door faces.
         4. Provide additional flush closing channel at bottom edge of doors to receive weatherstripping; spot-weld channel to both door faces.
      2. Hardware preparation:
         1. Mortise, reinforce, drill, and tap doors at factory for fully templated mortised hardware only, in accordance with approved hardware schedule and supplied templates.
         2. Provide reinforcing plates at surface-mounted or non-templated hardware locations.

*Specifier Note: delete the follow paragraph if no acoustical panels are required.*

* + 1. Acoustical Panels: same materials, construction, and finish as doors; sizes as indicated on Architect-approved shop drawings.
    2. Frames: Fabricate in accordance with Architect-approved shop drawings, and as follows:
       1. Frames for interior use: Fabricate from stainless steel sheet, minimum 14-gage thickness.
       2. Frames for exterior use: Fabricate from galvanized steel sheet, minimum 14-gage thickness.
       3. Form frame members straight, and of uniform profile through lengths, as welded units with integral trim, of sizes and profiles indicated.
          1. Weld contact edges of joints closed tight.
          2. Miter perimeter trim faces and weld continuously.
       4. When shipping limitations so dictate, fabricate frames for large openings in sections designed for assembly in the field; install alignment plates or angles, of same material and gage as frame, at each joint.
       5. Hardware preparation:
          1. Mortise, reinforce, drill, and tap frames at factory for fully templated mortised hardware only, in accordance with Architect-approved shop drawings and supplied templates.
          2. Provide reinforcing plates at surface-mounted or non-templated hardware locations.
       6. Floor anchors:
          1. Fabricate of same material as frame material; minimum 14 gage.
          2. Weld anchors inside each jamb for floor anchorage.
       7. Jamb anchors:
          1. Fabricate of same material as frame material; weld anchors inside each jamb for wall anchorage.
          2. Provide anchor types for indicated adjacent wall construction:

Frames for installation in masonry walls: Adjustable jamb anchors, 16 gage, T-shape type.

Frames for installation in stud partitions: Continuous 16 gage steel channel to surround stud, welded inside each jamb.

* + - 1. Plaster guards: Fabricate from minimum 22 gage steel; weld in place at hardware mortises on frames to be set in plaster, masonry, or concrete openings.
      2. Provide welded frames with temporary steel spreader welded to jamb feet for bracing during shipping and handling.

*Specifier Note: Delete the following paragraph if no teller windows required.*

* + 1. Teller windows: Fabricate in accordance with Architect-approved shop drawings, and as follows:
       1. At sill, design and fabricate integral stainless steel pass tray to dimensions shown on drawings
       2. Provide appurtenance blocking to allow voice transference around glass perimeter.

*Specifier Note: delete the following two paragraphs if vision lites are not required.*

* + 1. Vision Lites:
       1. Factory assemble lites in doors indicated to have vision lites, using glazing materials and assembly methods indicated on approved shop drawings for required STC rating; field assembly not permitted.
       2. Fabricate dual-glazed lites permitting individual removal of each glazing pane.
    2. Loose stops:
       1. Fabricate of minimum 12ga steel, with factory drilled and countersunk holes for fasteners.
       2. Form stops for mitered corner joints.
       3. Supply cadmium-coated or zinc-coated fasteners, size and quantity required for fastener holes.
    3. Door hardware:
       1. Supply gasketing systems, retainers, retainer covers, fixed door bottoms, cam-lift hinges, thresholds / integral 4-sided plate sills as indicated on Architect-approved shop drawings, or specified in manufacturer's product data for project conditions, to achieve specified performance requirements.
       2. All other door hardware to match as applicable per specified in Section 08710 to achieve performance requirements of the door assembly.
  1. SILL CONDITION
     1. Where indicated on the drawings, furnish a smooth flush stainless steel threshold / sill for the door bottoms to seal against when the door is in the closed position. For openings where carpet extends through the opening, the threshold height shall be 1/8” greater in height than the carpet thickness or as manufacturer requires.
  2. FINISH
     1. finish: All tool marks and surface imperfections shall be removed and exposed faces of all welded joints shall be dressed smooth. Assemblies shall be treated and shall be coated on all accessible surfaces with a rust-inhibitive primer which meets ASTM B117 salt spray for 150 hours, and ASTM D1735 water fog test for organic coatings for 200 hours, and which is fully cured prior to shipment. Prime shall cover all surfaces, except RF contact points.

1. EXECUTION
   1. EXAMINATION
      1. Proper installation is essential to the proper performance of acoustical door and frame assemblies. It shall be the responsibility of the General Contractor to perform the following.
      2. Verification of conditions:
         1. Prior to installation, check and correct frames for size, swing, squareness, alignment, twist and plumb.
         2. Verify openings are in accordance with approved shop drawings.
      3. Installer's examination:
         1. Have installer of this section examine conditions under which construction activities of this section are to be performed, then submit written notification if such conditions are unacceptable.
         2. Transmit two copies of installer's report to Architect within 24 hours of receipt.
         3. Beginning construction activities of this section before unacceptable conditions have been corrected is prohibited.
         4. Beginning construction activities of this section indicates installer's acceptance of conditions.
   2. PREPARATION
      1. Remove steel spreaders from welded frames prior to installation; use of spreaders for installation purposes not permitted.
   3. INSTALLATION
      1. Install units in accordance with approved shop drawings and manufacturer's printed installation instructions; in addition, install steel components in accordance with HMMA 840.
      2. Fill voids between concealed side of frame and adjacent wall construction with lightweight gypsum plaster in accordance with approved shop drawings or manufacturer's printed installation instructions.
      3. Finish surfaces having abrasion damage smooth; touch-up with rust inhibitive primer.
      4. Install gasketing systems, retainers, retainer covers, fixed door bottoms, cam-lift hinges, thresholds and sills in accordance with manufacturer's printed instructions.
      5. Installation of all other door hardware is specified in Section 08710.
      6. Field painting is specified in Section 09900.
      7. Site tolerances: Do not exceed the following installation tolerances:
         1. Squareness: Plus or minus 1/16 inch measured on a line, 90 degrees from one jamb, at the upper corner of the frame at the other jamb.
         2. Alignment: Plus or minus 1/16 inch measured on jambs on a horizontal line parallel to the plane of the wall.
         3. Twist: Plus or minus 1/16 inch measured at face corners of jambs on parallel lines perpendicular to the plane of the wall.
         4. Plumb: Plus or minus 1/16 inch measured on the jamb at the floor.
   4. FIELD QUALITY CONTROL
      1. Engage and pay for the field services of manufacturer's authorized representative to train, supervise and certify installer ahead of time (preferably before labor begins, at setting of 1st frame, hanging of 1st door and ahead of handover, field testing or the like -- or at least:
         1. Inspect completed installation of door and frame assemblies.
         2. Test all components through a minimum of ten complete cycles of operation.
         3. Verify each component is correctly installed.
         4. Direct installer in adjusting components for correct operation.
         5. Issue certified statement of compliance of installed door and frame assemblies to Architect-approved shop drawings.
         6. Instruct Owner's maintenance personnel in correct operation and maintenance procedures for components of door and frame assemblies.
      2. Notify Architect a minimum of four (4) calendar days prior to scheduled testing dates.
   5. maintenance
      1. Instruct the Owner’s Maintenance Personnel regarding the proper operation and maintenance of these doors.

END OF SECTION